[image: image2.png]BPS




MUTUAL RECOGNITION ARRANGEMENT ON CONFORMITY ASSESSMENT OF ELECTRICAL AND ELECTRONIC EQUIPMENT

APEC EEMRA 

Information Interchange Format

PART 1

Introduction
This format is being prepared to assist member economies participating in the APEC MRA to prepare documentation required for participation in a consistent format.

It is expected that each participating member economy would submit their information in the recommended format to the APEC Secretariat as required by the MRA.

The format is based on the Information Notes on Good Practice for Technical Regulation and therefore provides for information to be supplied for each of the regulatory regimes identified in the notes.  There are 7 regimes, they are for products requiring inspection, products requiring licensing, products requiring batch testing, products requiring approval (or certification), products requiring listing or registration, supplier declarations and essential safety requirements.  Participating member economies need only provide information relating to the regimes which are in force in their economy.  The regimes that are not enforced by the economy need to be noted also, please indicate this by placing ‘none’ in the standards table on the front of each regime.

Where more than one regulatory system applies within a participating member economy information on each regulatory system should be provided separately.

The format also draws upon the survey on Conformity Assessment of Electrical and Electronic Equipment conducted by the APEC SCSC.  The format includes reference to applicable international standards and uses the international convention for describing the relationship of national and international standards, i.e. IDT for identical, MOD for modified, and NEQ for not equal.

When information makes reference to documents or legislation, the documents or legislation should be available on a website for that economy or provided as part of the information supplied to the APEC Secretariat.

[image: image3.png]BPS



APEC EEMRA Information Interchange Format
Contact Point:

Mr. JESUS L. MOTOOMULL
Bureau Director

Bureau of Product Standards

3rd floor Trade and Industry Bldg.

361 Sen. Gil Puyat Ave.

Makati City, Metro Manila

Tel. No. 751-3126

Fax No. 751-4706

Email: bps@dti.gov.ph
Web Address: www.bps.dti.gov.ph
PART I – INFORMATION EXCHANGE
Regime Overview

The BPS operates two schemes of Product Certification, namely: Philippine Standards (PS) Quality and/or Safety Certification Mark Scheme and Import Commodity Clearance (ICC) Scheme. 

The Philippines’ Product Certification is classified into two types: Mandatory and Voluntary Certification.

Mandatory Certification

Product certification from BPS/DTI is compulsory before the products’ distribution in the Philippine market. As of December 2008 there are 53 Philippine National Standards (PNS) of electrical products that are under mandatory certification.

Voluntary Certification

Product certification from BPS/DTI is not a pre-requisite in products’ distribution in the market. Manufacturers may  apply for the PS Quality and/or Safety Certification Mark Scheme to use  the PS Mark logo on a voluntary basis. However, upon the granting of the certification license for the use of Mark, the manufacturer is obliged  to comply with the requirements of the relevant PNS for continued use of the PS Mark license.

Legislative References

	Legislation Applicable


	Scope of the Legislation
	Government Agency

	Republic Act 4109 (RA 4109)


	An act to convert the Division of Standards under the Bureau of Product Standards, to provide for the Standardization and/or inspection of products and imports of the Philippines and for other purposes.
	Bureau of Product Standards

	Republic Act 7394 (RA 7394)


	Consumer Act of the Philippines
	Department of Trade and Industry

Department of Agriculture

Department of Health

	Executive Order No. 913 (EO 913)


	Strengthening the rule-making and adjudicatory powers of the Minister of Trade and Industry in order to further protect consumers.
	Department of Trade and Industry

	Department Administrative Order No. 4, Series of 2008 (DAO 4:2008)
	The new rules and regulations concerning the Philippine Standard (PS) Quality and/or Safety Certification Mark Scheme of the Bureau of Product Standards 

	Bureau of Product Standards

	Department Administrative Order No. 5, Series of 2008 (DAO 5:2008)
	The new rules and regulations concerning the issuance of import commodity clearance under the product certification mark scheme of the Bureau of Product Standards 


	Bureau of Product Standards

	Department Administrative Order No. 2, Series of  2007 (DAO 2:2007)


	Defining the responsibilities and liabilities of manufacturers/importers, traders, wholesalers, distributors,  retailers, service providers and or their agents, with regard to products/services covered by Philippine Standard Certification Mark Schemes and prescribing penalties for violation thereof

	Bureau of Product Standards


1. PRODUCTS REQUIRING INSPECTION
     Please refer to (4) products requiring approval (or certification)

2. 
PRODUCTS REQUIRING LICENSING
N O N E 
3. 
PRODUCTS REQUIRING BATCH TESTING
N ON E
4.
PRODUCTS REQUIRING APPROVAL (OR CERTIFICATION)
The BPS through its regional and provincial offices conducts inspection, sampling, testing and licensing of  imported or locally manufactured products prior to its disposal to the market.

For imported products declared as mandatory, the BPS issues the ICC Mark to be affixed in each product after compliance with all the requirements  for ICC certification.  Unless all the requirements are complied no imported products declared as mandatory shall be disposed in the market.  

For locally manufactured products declared as mandatory,  the BPS issues the PS Quality and/or Safety Certification Mark  to be affixed in each product.

To ensure safe and quality products placed in the market the BPS conducts regular market-monitoring surveillance. 

[image: image4.wmf][image: image5.wmf]
5.
PRODUCTS REQUIRING LISTING OR REGISTRATION
Listing/registration is similar to approvals except that there is no direct activity by the regulatory agency before a product is placed onto the market.   

6.
SUPPLIER DECLARATIONS

N O N E

7. 
ESSENTIAL SAFETY REQUIREMENTS
Products covered by any of the above 
Products covered by approval

	Product type

or grouping


	Regulations
	Standards

	
	
	Domestic Standards
	Please    tick if mandatory
	Relevant International Standards
	Extent of Alignment

	Mandatory



	Tubular fluorescent lamps


	DAO 4:2008
DAO 5:2008
	PNS 02:1994
	(
	IEC 81:1984

Amd.5:1994
	Identical

	Ballast for tubular fluorescent lamp


	DAO 4:2008
DAO 5:2008
	PNS 12-1:1996

Amd.02:1997


	(
	IEC 920:1990

Amd.02:1995
	Identical

	Ballast for tubular fluorescent lamps-Performance

Requirements


	DAO 4:2008
DAO 5:2008
	PNS 12-2:1996

Amd.01 & 02:1997
	(
	IEC 921:1990

Amd.02:1994
	Identical

	Class H Fuses-Specification


	DAO 4:2008
DAO 5:2008

	PNS 13:1999
	(
	
	

	Electric Wires and Cables – PVC insulated electric copper wire and cables-Specification


	DAO 4:2008
DAO 5:2008
	PNS 35-1:2004
	(
	IEC 228:1978
	 Not Equivalent

	Safety specification for incandescent lamps-Part 1:Tungsten filament lamps for domestic and similar general lighting purposes


	DAO 4:2008
DAO 5:2008
	PNS 38-1:1995

Amd.01:

1995
	(
	IEC 432-1:1993
Amd 01:1995
	Identical

	Tungsten filament lamps for domestic and similar general lighting purposes

Part 2:Performance requirements


	DAO 4:2008
DAO 5:2008
	PNS 38-2:1997
	(
	IEC 64:1993
	Identical

	Lampholders for tubular fluorescent lamps and starterholders- Specifications


	DAO 4:2008
DAO 5:2008
	PNS 42:1997
	(
	IEC 400:1996
	Identical

	Glow-starters for fluorescent lamps


	DAO 4:2008
DAO 5:2008
	PNS 45:1997

Amd.01:1997
	(
	IEC 155:1993/ Amd.01:1995
	Identical

	Fuseholders – Specification
	DAO 4:2008
DAO 5:2008

	PNS 56:1996
	(
	
	

	Snap switches for general use-Specification
	DAO 4:2008
DAO 5:2008

	PNS 57:1996
	(
	
	

	Edison screw lampholder-Specification


	DAO 4:2008
DAO 5:2008

	PNS 80:1997
	(
	IEC 238:1996
	Identical

	Knife switches – Specification


	DAO 4:2008
DAO 5:2008

	PNS 118:1992
	(
	
	

	AC supplied electronic ballasts for tubular fluorescent lamps Part1: General and safety requirements


	DAO 4:2008
DAO 5:2008
	PNS 135-1:1997
	(
	IEC 928:1995-02
	Identical

	AC supplied electronic ballasts for tubular fluorescent lamps- Part 2: Performance requirements


	DAO 4:2008
DAO 5:2008
	PNS 135-2:1993 Amd.01 & 02:1997
	(
	IEC 929:1990

Amd.01:1996
Amd.02:1996
	Identical

	Electrical products – Polyvinyl chloride insulated flexible cords- Specification


	DAO 4:2008
DAO 5:2008
	PNS 163:1994
	(
	
	 

	Lighting sets using miniature and sub-miniature lamps for decorative purposes – Specification


	DAO 4:2008
DAO 5:2008
	PNS 189:2000
	(
	
	

	Non-ducted air conditioners and heat pumps-Testing and rating for performance


	DAO 4:2008
DAO 5:2008

Energy Labelling

	PNS 240:1998

Amd.01:1998
	(
	ISO 5151:1994
	Modified

	Automatic voltage regulators                                (not yet implemented)
	DAO 4:2008
DAO 5:2008


	PNS IEC 61558-1:2002
	
	IEC Published 1998
	Identical

	Safety of household and similar electrical appliances – Part 2: Particular requirements for electric irons


	DAO 4:2008
DAO 5:2008
	PNS 254-1:1994

Amd.01:2000
	(
	IEC 335-2-3:1993

Amd.01:1999
	Identical

	Safety of household and similar electrical appliances – Part 2: Particular requirements for appliances for heating liquids


	DAO 4:2008
DAO 5:2008
	PNS 255:1996
	(
	IEC 335-2-15:1995
	Identical

	Audio, video and similar electronic apparatus – Safety requirements

	DAO 4:2008
DAO 5:2008
	PNS IEC 60065:2007
	(
	IEC 60065:2001
	Identical

	Safety of household and similar electrical appliances Part 2: Particular requirements for toasters, grills, roasters and similar appliances


	DAO 4:2008
DAO 5:2008
	PNS 272:1996
	(
	IEC 335-2-9:1993
	Identical

	Household appliances-Energy efficiency ratio (EER) and labeling requirements Part 1:Non-ducted airconditioners


	DAO 4:2008
DAO 5:2008

Energy Labelling

	PNS 396-1:1998
	(
	
	No international standard

	Household appliances-Energy efficiency factor (EEF) and labeling requirements Part 2: Refrigerators and freezers


	DAO 4:2008
DAO 5:2008

Energy Labelling

	PNS 396-2:1997

Amd. 01:2000
	(
	
	No international standard

	Circuit breakers-Moulded case-Specification


	DAO 4:2008
DAO 5:2008
	PNS 519:1991
	(
	
	 

	Lamps-Self-ballasted lamps for general lighting services-Part 1: Safety requirements


	DAO 4:2008
DAO 5:2008
	PNS 603-1:1993
Amd 01:2001
	(
	IEC 968:1988
Amd 01:1991

Amd 02:1999
	Identical

	Lamps - Self-ballasted lamps for general lighting services-Part 2: Safety requirements


	DAO 4:2008
DAO 5:2008
	PNS 603-2:1993
Amd 01:2001
	(
	IEC 969:1988
	Identical

	Safety of household and similar electrical appliances-Part 1:General Requirements
	DAO 4:2008
DAO 5:2008
	PNS 1079:1994


	(
	IEC 335-1:1991 Amd.01:1994


	Identical



	Safety of household and similar electrical appliances- Part 2: Particular requirements for vacuum cleaners and water suction cleaning appliances


	DAO 4:2008
DAO 5:2008
	PNS 1169:1993
	(
	IEC 335-2-2:1993
	Identical



	Safety of household and similar electrical appliances – Particular requirements for kitchen machines


	DAO 4:2008
DAO 5:2008
	PNS 1244:1994
	(
	IEC 335-2-14:1984
	Identical

	Single-capped fluorescent lamps-Performance Specification Section 1: General


	DAO 4:2008
DAO 5:2008
	PNS 1261:1995
	(
	IEC 901:1992
	Identical

	Luminaries – Part 1: General requirements and tests


	DAO 4:2008
DAO 5:2008
	PNS 1328:1996
	(
	IEC 598-1:1992
	Identical

	Switches for household and similar fixed- Electrical installations Part 1: General requirements


	DAO 4:2008
DAO 5:2008
	PNS 1485-1:1996 Amd. 01& 02:1996
	(
	IEC 669-1:1993/ Amd.01:1994

Amd. 02:1995
	Identical

	Plugs and socket-outlets for household and similar purposes Part 1: General requirements


	DAO 4:2008
DAO 5:2008
	PNS 1486-1:1996
	(
	IEC 884-1:1994
	Identical

	Safety of household and similar electrical appliances – Part 2: Particular requirements for storage water heaters


	DAO 4:2008
DAO 5:2008
	PNS 1558:1997

Amds. 01,02,03:1997
	(
	IEC 335-2-21:1989/ Amd.01,02:1990/ Amd. 03:1992
	Identical

	Plugs and socket-outlets for domestic and similar general use standards


	DAO 4:2008
DAO 5:2008
	PNS 1572:1997
	(
	IEC 83:1975
	Modified

	Safety of household and similar electrical appliances Part 2: Particular requirements for spin extractors


	DAO 4:2008
DAO 5:2008
	PNS 1680:1998
	(
	IEC 335-2-4:1993
	Identical

	Electrical Products - Boxes for rigid metal conduits
	DAO 4:2008
DAO 5:2008
	PNS 1829:1999


	(
	 
	 

	Safety of household and similar electrical appliances Part 2: Particular requirements  for stationary cooking ranges, hobs, ovens and similar appliances
(not yet implemented)


	DAO 4:2008

DAO 5:2008
	PNS IEC 60335-2-6:2000


	(
	IEC 60335-2-6:1997 Amd 01:2000
	Identical



	Safety of household and similar electrical appliances Part 2-7: Particular requirements for washing machines


	DAO 4:2008
DAO 5:2008
	PNS IEC 60335-2-7:2000


	(
	IEC published 1998
	Identical

	Safety of household and similar electrical appliances Part 2-24: Particular requirements for refrigerating appliances and ice-makers


	DAO 4:2008
DAO 5:2008
	PNS IEC 60335-2-24:2001
Amd 01:2003

	(
	IEC published 2000
	Identical

	Safety of household and similar electrical appliances Part 2: Particular requirements for microwave ovens


	DAO 4:2008
DAO 5:2008
	PNS IEC 335-2-25:2000


	(
	IEC published 1996
	Identical

	Safety of household and similar electrical appliances Part 2: Particular requirements for range hoods


	DAO 4:2008
DAO 5:2008
	PNS 335-2-31: 2000
	(
	IEC published 1995
	Identical

	Safety of household and similar electrical appliances Part 2-35: Particular requirements for instantaneous water heaters


	DAO 4:2008
DAO 5:2008
	PNS IEC 60335-2-35:2000
	(
	IEC published 1997
	Identical

	Safety of household and similar electrical appliances Part 2: Particular requirements for electrical heat pumps, air conditioners and dehumidifiers
(not yet implemented)


	DAO 4:2008

DAO 5:2008
	PNS IEC 335-2-40:2000

Amd 01:2000

Amd 02:2003


	(
	IEC published 1995
	Identical

	Safety of household and similar electrical appliances Part 2: Particular requirements for portable immersion heaters


	DAO 4:2008
DAO 5:2008
	PNS IEC 335-2-74:2000
	(
	IEC published 1994
	Identical

	Safety of household and similar electrical appliances Part 2: Particular requirements for fans


	DAO 4:2008
DAO 5:2008
	PNS IEC 60335-2-80:2000

Supersedes PNS 134-1:1994
	(
	IEC published 1997
	Identical

	Double-capped fluorescent lamps-Performance specifications


	DAO 4:2008
DAO 5:2008
	PNS IEC 60081:2001

Supersedes PNS 02:1994

	(
	IEC 81:1984

Amd.05:1994
	Identical

	Pressure sensitive adhesive polyvinyl chloride (PVC) tapes for electrical insulation - Specification


	DAO 4:2008
DAO 5:2008
	PNS 79:1992
	(
	
	


Diagrammatic representation or flowchart of the regime 

PS Quality and/or Safety Certification Mark Scheme

[image: image6.png]BPS













BPS – Bureau of Product Standards

FCB – Foreign Certifying Body

MRA – Mutual Recognition Arrangement



Import Commodity Clearance Scheme






















          




                
      











Description of the Regime

Testing Facilities

Bureau of Product Standards Testing Center (BPS-TC)

Fuels and Appliance Testing Laboratory (FATL)

Laboratories accredited by Bureau of Product Standards Laboratory Accreditation Scheme (BPSLAS)

Approval (Certification) Agencies

Bureau of Product Standards (BPS)

Labeling Requirements

ICC Mark for imported product and PS Quality and/or Safety Certification Mark shall be affixed in each product in addition to the markings required by the Philippine National Standards.


 

               ICC Mark


                            CERTIFIED 

 

CERTIFIED 

 Product Safety


        Product Quality
Regulatory and Legislation Requirements
DEPARTMENT ADMINISTRATIVE ORDER NO.  04  , SERIES OF 2008
SUBJECT
: 
The new rules and regulations concerning the Philippine Standard (PS) Quality and/or Safety Certification Mark Scheme of the Bureau of Product Standards 

DEPARTMENT  ADMINISTRATIVE ORDER NO. 05, SERIES OF  2008
SUBJECT
:
The new rules and regulations concerning the issuance of import commodity clearance under the product certification mark scheme of the Bureau of Product Standards 

Mains Voltage, Frequency and Mains Plug Configuration
[image: image1.jpg]L ARRRAN A LM

A-1 For Philippine Condition

PNS 1572:1997

18-15R 18-15P

18-20P

18,30P

10/15 Amperes 15 Amperes 20 Amperes 30 Amperes 50 Amperes
Receptacle Plug Receptacle Plug Receptacle Plug Receptacle Plug Receptacle Plug
2-Pole, | 250V
2-Wire
5 QOO0
2-Pole,
3-Wire 5-20R 5-20P 5-30R 5-30P 5-50R 5-50P
Grounding
) () ) € @) 0
6-15R 6-15P 6-20R 6-20P 6-30R 6-30P 6-50R 6-50P
: OOOOOS
250V
w-wo_ou 10-20R 10-20P 10-30R 10-30P 10-50R 10-50P
3-Wire
> PClciClClelE
250V
11-15R 11-15P 11-20R 11-20P J 11-30P 11-50P
: 2000 e0H
3-Pole, 250V .
4-Wire 14-15P 14-20P g 14-30P 14-50P
Grounding
3GA «
250V :
15-15P 15-20P 15-30P 15-50P
30Y
4-Pole, 120/
4-Wire | 200V

18-50R 18-50P

Note: This table replaces pages 22 and 23 of Group A of IEC 83:1975





Application by Foreign Supplier Firm





Advertisement /sell





Report


Findings





With Deficiency/ies


Report Findings





C





Product Reassessment





 BPS Director for Approval





FCB





A





Submit to BPS





Inform Applicant and  FCB of Assessment Schedule





Advertisement /sell





 Review of   the


Application by AT 3A





Inform Applicant and  FCB of Assessment Schedule





Product 


Assessment





 


Factory 


Assessment





B





Documentation Incomplete





 Factory Assessment





ECONOMY – PHILIPPINES





MRA





Issuance of PS License by BPS Director





BPS








Chairman, PCEP


Recommendation





A





Test Result





Samples Sent to Testing Laboratory





Assessors Draw


Complete Samples for Independent


Testing





Assessors Submit


Assessment Report to BPS





B





Evaluation of F/P Assessment Report





Evaluator’s Recommen-dation to PCEP





C





BPS Report Findings to the Company





T.R. Failed/ or Discrepancies in F/P Report





Submission of Application





Start





Application Review








Exempted





Issuance of Certificate of  Exemption








 


Re-Test





Denial: Destruction or Exportation








A








With Test 


Certificate








 


Passed





Issuance of ICC








Issuance of Conditional Release





Draw Samples for


Testing/ Re-Testing








Evaluation of Test Report/Certificate





A





Yes








Yes








Yes








No








No








No








� EMBED Word.Picture.8  ���





� EMBED Word.Picture.8  ���





� EMBED Word.Document.8 \s ���








PAGE  

_1051701415.doc
[image: image1.png]BPS







_1051701492.doc
[image: image1.png]2
“Airy

RS







