## Sheet1
System size | 5kWp
System type | Roof top grid tie
System cost | 15000
Local Peak Sun Hours | 4.5 PSH
System losses | 20%
Expected net daily production | 5kWp * 4.5 PSH * (100%-20%)
18
Expected net annual production | 6570
Expected system lifetime | 20 years
Expected net lifetime production | 131400
Amortized cost of electricity | $15,000 / 131,400kWh
0.11416